Raw science and sky exposures
Standardize
meta-data?
Add BPM
Linearity correction
ADU -> electrons
Initialize variance
Attach slit traces
Attach wavelength calibration
Select sky exposures
Dark subtraction
Sky subtraction
Associate sky exposures
Divide by flat
Object - sky
Cut out slits
Trace object spectra
Sky sub. along slit
Interpolate sky
Identify cosmic rays
Subtract sky
Register WCS shifts
Extract 1D spectra
DAR flux correction
Correct telluric absorption
Resample to linear co-ords
Scale exposures to
common level
Stack exposures
Apply flux calibration
Reduced data